## ET 200S
Phase out planning + Migration from ET 200S |  |  |  |  | to ET 200SP
MLFB | Description | Announcement of product phase-out (PM400) available as new part until PM410 | Product cancellation (PM410) available only as spare part, delivery may be restricted | Product discontinuation (PM490) spare parts not available any more, only in case of warranty | MLFB | Description | MLFB | Description
IM |  |  |  |  | most likely comparable ET 200SP product |  | alternative or recommended ET 200SP product
6ES7151-1CA00-0AB0 | IM151-1 Basic* | 2018-10-01 | 2020-10-01 | 2028-10-01 | 6ES7155-6BA00-0CN0 | IM155-6 DP HF | 6ES7155-6AR00-0AN0 | IM155-6PN BA
6ES7151-1CA00-1BL0 | IM151-1 Compact 32DI* | 2017-10-01 | 2020-10-01 | 2027-10-01 | 6ES7155-6BA00-0CN0 | IM155-6 DP HF | 6ES7155-6AR00-0AN0 | IM155-6PN BA
6ES7151-1CA00-3BL0 | IM151-1 Compact 16DI/16DO* | 2017-10-01 | 2020-10-01 | 2027-10-01 | 6ES7155-6BA00-0CN0 | IM155-6 DP HF | 6ES7155-6AR00-0AN0 | IM155-6PN BA
6ES7151-1AA06-0AB0 | IM151-1 Standard* | 2020-10-01 | 2021-10-01 | 2030-10-01 | 6ES7155-6BA00-0CN0 | IM155-6 DP HF | 6ES7155-6AA01-0BN0 | IM155-6PN ST
6ES7151-1BA02-0AB0 | IM151-1 High Feature* | 2020-10-01 | 2023-10-01 | 2030-10-02 | 6ES7155-6BA00-0CN0 | IM155-6 DP HF | 6ES7155-6AU01-0CN0 | IM155-6PN HF
6ES7151-1AB05-0AB0 | IM151-1 FO* | 2016-10-01 | 2018-10-01 | 2026-10-01 | 6ES7155-6AU01-0CN0 | IM155-6PN HF | - | -
6ES7151-3AA23-0AB0 | IM151-3PN Standard | 2020-10-01 | 2021-10-01 | 2030-10-01 | 6ES7155-6AA01-0BN0 | IM155-6PN ST | 6ES7155-6AA01-0BN0 | IM155-6PN ST
6ES7151-3BA23-0AB0 | IM151-3PN High Feature | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7155-6AU01-0CN0 | IM155-6PN HF | 6ES7155-6AU01-0CN0 | IM155-6PN HF
6ES7151-3BB23-0AB0 | IM151-3PN FO | 2018-10-01 | 2022-10-01 | 2028-10-01 | 6ES7155-6AU01-0CN0 | IM155-6PN HF | 6ES7155-6AU01-0CN0 | IM155-6PN HF
6ES7151-3BA60-0AB0 | IM151-3PN High Speed* | 2016-10-01 | 2020-10-01 | 2026-10-01 | 6ES7155-6AU00-0DN0 | IM155-6PN HS | 6ES7155-6AU01-0CN0 | IM155-6PN HF
ZNX:100000005188 | IM DeviceNet | 2017-07-01 | 2017-07-01 | 2027-07-01 | 6ES7155-6MU00-0CN0 | IM155-6MF HF | - | -
ZNX:EIP-200S | IM EtherNet/IP | 2020-10-01 | 2021-10-01 | 2028-10-01 | 6ES7155-6MU00-0CN0 | IM155-6MF HF | - | -
CPU |  |  |  |  | most likely comparable ET 200SP product |  | alternative or recommended ET 200SP product
6ES7151-7AA21-0AB0 | IM151-7 CPU, 128 KB Arbeitsspeicher | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7510-1DJ01-0AB0 | CPU 1510SP-1 PN, 100KB Prog./750KB Daten | - | -
6ES7151-7AB00-0AB0 | IM151-7 CPU FO, 48KB (ab FW V1.13) Arbeitsspeicher | 2018-10-01 | 2019-10-01 | 2028-10-01 | 6ES7512-1DK01-0AB0 | CPU 1512SP-1 PN, 200KB Prog./1MB Daten | 6ES7510-1DJ01-0AB0 | CPU 1510SP-1 PN, 100KB Prog./750KB Daten
6ES7151-7FA21-0AB0 | IM 151 F-CPU, 192KB | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7510-1SJ01-0AB0 | CPU 1510SP F-1 PN,150KB Prog./750KB Daten | 6ES7512-1SK01-0AB0 | CPU 1512SP F-1 PN, 300KB Prog./1MB Daten
6ES7151-8AB01-0AB0 | IM151-8 PN/DP CPU, 192 KB | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7512-1DK01-0AB0 | CPU 1512SP-1 PN, 200KB Prog./1MB Daten | 6ES7510-1DJ01-0AB0 | CPU 1510SP-1 PN, 100KB Prog./750KB Daten
6ES71518FB010ab0 | IM151-8F PN/DP CPU, 256 KB | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7512-1SK01-0AB0 | CPU 1512SP F-1 PN, 300KB Prog./1MB Daten | 6ES7510-1SJ01-0AB0 | CPU 1510SP F-1 PN,150KB Prog./750KB Daten
6ES7138-4HA00-0AB0 | DP-Masteranschaltung für ET 200S CPUs | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7545-5DA00-0AB0 | CM DP für ET 200SP CPU | - | -
DI |  |  |  |  | most likely comparable ET 200SP product |  | alternative or recommended ET 200SP product
6ES7131-4BB01-0AA0 | 2DI DC 24V Standard | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7131-6BF01-0BA0 | DI 8x 24V DC ST | 6ES7131-6BF01-0AA0 | DI 8x 24V DC BA
6ES7131-4BB01-0AB0 | 2DI DC 24V High-Feature | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7131-6BF00-0CA0 | DI 8x24VDC HF | 6ES7131-6BF01-0BA0 | DI 8x 24V DC ST
6ES7131-4BD01-0AA0 | 4DI DC 24V Standard | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7131-6BF01-0BA0 | DI 8x 24V DC ST | 6ES7131-6BF01-0AA0 | DI 8x 24V DC BA
6ES7131-4BD01-0AB0 | 4DI DC 24V High-Feature | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7131-6BF00-0CA0 | DI 8x24VDC HF | 6ES7131-6BF01-0BA0 | DI 8x 24V DC ST
6ES7131-4BD51-0AA0 | 4DI DC 24V Standard, SOURCE INPUT | 2016-10-01 | 2019-10-01 | 2026-10-01 | 6ES7131-6BF60-0AA0 | DI 8x24VDC Source BA | - | -
6ES7131-4RD02-0AB0 | 4DI NAMUR | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7131-6TF00-0CA0 | DI 8xNAMUR HF | - | -
6ES7131-4CD02-0AB0 | 4DI UC 24..48V | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7131-6CF00-0AU0 | DI 8x 24VAC..48VUC BA | - | -
6ES7131-4BF00-0AA0 | 8DI DC 24V STANDARD | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7131-6BH01-0BA0 | DI 16x 24V DC ST | - | -
6ES7131-4BF50-0AA0 | 8DI DC 24V SOURCE INPUT | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7131-6BF60-0AA0 | DI 8x24VDC Source BA | - | -
6ES7131-4EB00-0AB0 | 2DI AC 120V | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7131-6FD01-0BB1 | DI 4x 120..230V AC ST | - | -
6ES7131-4FB00-0AB0 | 2DI AC 230V | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7131-6FD01-0BB1 | DI 4x 120..230V AC ST | - | -
DO |  |  |  |  | most likely comparable ET 200SP product |  | alternative or recommended ET 200SP product
6ES7132-4BB01-0AA0 | 2DO DC 24V 0,5A Standard | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7132-6BF01-0BA0 | DQ 8x 24V DC/0,5A ST | 6ES7132-6BF01-0AA0 | DQ 8x 24V DC/0,5A Basic
6ES7132-4BB01-0AB0 | 2DO DC 24V 0,5A High-Feature | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7132-6BF00-0CA0 | DQ 8x24VDC/0,5A HF | 6ES7132-6BF01-0BA0 | DQ 8x 24V DC/0,5A ST
6ES7132-4BD02-0AA0 | 4DO DC 24V 0,5A Standard | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7132-6BF01-0BA0 | DQ 8x 24V DC/0,5A ST | 6ES7132-6BF01-0AA0 | DQ 8x 24V DC/0,5A Basic
6ES7132-4BD00-0AB0 | 4DO DC 24V 0,5A High Feature | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7132-6BF00-0CA0 | DQ 8x24VDC/0,5A HF | 6ES7132-6BF01-0BA0 | DQ 8x 24V DC/0,5A ST
6ES7132-4BD50-0AA0 | 4DO DC 24V 0,5A Sink Output | 2016-10-01 | 2019-10-01 | 2026-10-01 | 6ES7132-6BF61-0AA0 | DQ 8x 24VDC/0,5A SINK BA | - | -
6ES7132-4BB31-0AA0 | 2DO DC 24V 2A Standard | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7132-6BD20-0BA0 | DQ 4x24VDC/2A ST | - | -
6ES7132-4BB31-0AB0 | 2DO DC 24V 2A High-Feature | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7132-6BD20-0CA0 | DQ 4x24VDC/2A HF | 6ES7132-6BD20-0BA0 | DQ 4x24VDC/2A ST
6ES7132-4BD32-0AA0 | 4DO DC 24V 2A Standard | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7132-6BD20-0BA0 | DQ 4x24VDC/2A ST | - | -
6ES7132-4BD30-0AB0 | 4DO DC 24V 2A High Feature | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7132-6BD20-0CA0 | DQ 4x24VDC/2A HF | 6ES7132-6BD20-0BA0 | DQ 4x24VDC/2A ST
6ES7132-4BF00-0AA0 | 8DO DC 24V/0,5A Standard | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7132-6BH01-0BA0 | DQ 16x 24V DC/0,5A ST | 6ES7132-6BH00-0AA0 | DQ 16X24VDC/0,5A BA
6ES7132-4BF00-0AB0 | 8DO DC 24V/0,5A High Feature | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7132-6BH01-0BA0 | DQ 16x 24V DC/0,5A ST | 6ES7132-6BF00-0CA0 | DQ 8x24VDC/0,5A HF
6ES7132-4BF50-0AA0 | 8DO DC 24V/0,5A SINK OUTPUT | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7132-6BF61-0AA0 | DQ 8x 24VDC/0,5A SINK BA | - | -
6ES7132-4HB13-0AB0 | 2RO DC 24..48V/5A AC 24..230V/5A, 2-way | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7132-6HC50-0BU0 | RQ 3x120VDC...230VAC/5A CO ST | 6ES7132-6HC70-0BU0 | RQ 3x120VDC...230VAC/5A CO n.i. ST
6ES7132-4HB01-0AB0 | 2RO DC 24V..AC 230V/5A normally open | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7132-6HD00-0BB0 | RQ NO 4x120VDC..230VAC/5A ST | 6ES7132-6GD51-0BA0 | RQ CO 4x 24V DC/2A ST
6ES7132-4HB50-0AB0 | 2RO DC 24..48V/5A AC 24..230V/5A, 2-way Manual actuation | 2018-10-01 | 2019-10-01 | 2028-10-01 | 6ES7132-6MD00-0BB1 | RQ NO-MA 4x120VDC..230VAC/5A ST | - | -
6ES7132-4FB01-0AB0 | 2DO AC24...230V/1A | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7132-6FD00-0BB1 | DQ 4x24..230VAC/2A ST | 6ES7132-6FD00-0CU0 | DQ 4x24..230VAC/2A HF
AI |  |  |  |  | most likely comparable ET 200SP product |  | alternative or recommended ET 200SP product
6ES7134-4FB01-0AB0 | 2AI U Standard | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7134-6FB00-0BA1 | AI 2xU Standard | 6ES7134-6HD01-0BA1 | AI 4xU/I 2-Wire ST
6ES7134-4FB52-0AB0 | 2AI U High Speed | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7134-6HB00-0DA1 | AI 2 X U/I 2-, 4-Wire HS | 6ES7134-6HB00-0CA1 | AI 2 X U/I 2-, 4-Wire HF
6ES7134-4LB02-0AB0 | 2AI U High-Feature | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7134-6HB00-0CA1 | AI 2 X U/I 2-, 4-Wire HF | - | -
6ES7134-4GB01-0AB0 | 2AI I 2-wire Standard* | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7134-6GB00-0BA1 | AI 2xI 2-/4-Wire ST | 6ES7134-6HD01-0BA1 | AI 4xU/I 2-Wire ST
6ES7134-4GD00-0AB0 | 4AI I 2-wire Standard | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7134-6HD01-0BA1 | AI 4xU/I 2-Wire ST | 6ES7134-6GF00-0AA1 | AI 8XI 2-/4-Wire Basic
6ES7134-4GB52-0AB0 | 2AI I 2-wire High Speed (+GB51 SACMI) | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7134-6HB00-0DA1 | AI 2 X U/I 2-, 4-Wire HS | 6ES7134-6HB00-0CA1 | AI 2 X U/I 2-, 4-Wire HF
6ES7134-4GB11-0AB0 | 2AI I 4-wire Standard* | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7134-6GD01-0BA1 | AI 4XI 2-/4-Wire ST | 6ES7134-6GF00-0AA1 | AI 8XI 2-/4-Wire Basic
6ES7134-4GB62-0AB0 | 2AI I 4-wire High Speed | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7134-6HB00-0DA1 | AI 2 X U/I 2-, 4-Wire HS | 6ES7134-6HB00-0CA1 | AI 2 X U/I 2-, 4-Wire HF
6ES7134-4MB02-0AB0 | 2AI I 2-/4-wire High-Feature | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7134-6HB00-0CA1 | AI 2 X U/I 2-, 4-Wire HF | - | -
6ES7134-4JB51-0AB0 | 2/4AI RTD Standard | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7134-6JD00-0CA1 | AI 4xRTD/TC 2-/3-/4-Wire HF | 6ES7134-6JF00-0CA1 | AI 8xRTD/TC 2-Wire HF
6ES7134-4JB01-0AB0 | 2AI TC Standard | 2016-10-01 | 2019-10-01 | 2026-10-01 | 6ES7134-6JD00-0CA1 | AI 4xRTD/TC 2-/3-/4-Wire HF | 6ES7134-6JD00-0DA1 | AI 4x TC HS
6ES7134-4JD00-0AB0 | 4AI TC Standard | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7134-6JD00-0CA1 | AI 4xRTD/TC 2-/3-/4-Wire HF | 6ES7134-6JD00-0DA1 | AI 4x TC HS
6ES7134-4NB51-0AB0 | 2AI RTD High Feature | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7134-6JD00-0CA1 | AI 4xRTD/TC 2-/3-/4-Wire HF | 6ES7134-6JF00-0CA1 | AI 8xRTD/TC 2-Wire HF
6ES7134-4NB01-0AB0 | 2AI TC High Feature | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7134-6JD00-0CA1 | AI 4xRTD/TC 2-/3-/4-Wire HF | 6ES7134-6JD00-0DA1 | AI 4x TC HS
AO |  |  |  |  | most likely comparable ET 200SP product |  | alternative or recommended ET 200SP product
6ES7135-4FB01-0AB0 | 2AO U Standard* | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7135-6FB00-0BA1 | AQ 2xU Standard | 6ES7135-6HD00-0BA1 | AQ 4xU/I ST
6ES7135-4GB01-0AB0 | 2AO I Standard* | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7135-6GB00-0BA1 | AQ 2xI Standard | 6ES7135-6HD00-0BA1 | AQ 4xU/I ST
6ES7135-4FB52-0AB0 | 2AO U High Speed | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7135-6HB00-0DA1 | AQ 2 X U/I High Speed | 6ES7135-6HB00-0CA1 | AQ 2 X U/I High Feature
6ES7135-4GB52-0AB0 | 2AO I High Speed | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7135-6HB00-0DA1 | AQ 2 X U/I High Speed | 6ES7135-6HB00-0CA1 | AQ 2 X U/I High Feature
6ES7135-4LB02-0AB0 | 2AO U High-Feature | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7135-6HB00-0CA1 | AQ 2 X U/I High Feature | 6ES7135-6HB00-0DA1 | AQ 2 X U/I High Speed
6ES7135-4MB02-0AB0 | 2AO I High-Feature | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7135-6HB00-0CA1 | AQ 2 X U/I High Feature | 6ES7135-6HB00-0DA1 | AQ 2 X U/I High Speed
PM-E |  |  |  |  | most likely comparable ET 200SP product |  | alternative or recommended ET 200SP product
6ES7138-4CA01-0AA0 | PM-E DC 24V (1 pack) | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6BPx0-0DA0 | BU-Type A0, light coloured | 6ES7193-6BPx0-0DA1 | BU-Type A1, light coloured
6ES7138-4CA01-1AA0 | PM-E DC 24V (5 pack) | 2020-10-01 | 2021-10-01 | 2022-10-01 | 6ES7193-6BPx0-0DA0 | BU-Type A0, light coloured | 6ES7193-6BPx0-0DA1 | BU-Type A1, light coloured
6ES7138-4CA60-0AB0 | PM-E DC 24V High Feature | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6BPx0-0DA0 | BU-Type A0, light coloured | 6ES7193-6BPx0-0DA1 | BU-Type A1, light coloured
6ES7138-4CA50-0AB0 | PM-E DC 24..48V | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6BP00-0DU0 | BU-Type U0, light coloured | - | -
6ES7138-4CA50-1AB0 | PM-E DC 24..48V (5 pack) | 2020-10-01 | 2021-10-01 | 2022-10-01 | 6ES7193-6BP00-0DU0 | BU-Type U0, light coloured | - | -
6ES7138-4CA80-0AB0 | PM-E RO | 2018-10-01 | 2019-10-01 | 2028-10-01 | - | - | - | -
6ES7138-4CB11-0AB0 | PM-E DC 24V..48V or AC 24V..230V | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6BP00-0DU0 | BU-Type U0, light coloured | 6ES7193-6BP20-0BB1 | BU-Type B1, dark coloured
6ES7138-4FD00-0AA0 | Potential Distr. Module 4 PotDis | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6UP… | PotDis-BU | 6ES7193-6TP… | PotDis-TB
Reserve modules |  |  |  |  | most likely comparable ET 200SP product |  | alternative or recommended ET 200SP product
6ES7138-4AA01-0AA0 | Reserve modules | 44105 | 2023-10-01 | 2030-10-01 | 6ES7133-6CV15-1AM0 | BU-Cover 15mm, 5 pcs. | 6ES7133-6CV20-1AM0 | BU-Cover 20mm, 5 pcs.
Technology modules |  |  |  |  | most likely comparable ET 200SP product |  | alternative or recommended ET 200SP product
6ES7138-4DA04-0AB0 | 1 Count 24V | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7138-6AA01-0BA0 | TM Count 1x24V | - | -
6ES7138-4GA00-0AB0 | 4 IQ-Sense | 2011-10-01 | 2012-10-01 | 2021-10-01 | 6ES7137-6BD00-0BA0 | CM 4xIO-Link
6ES7138-4GA50-0AB0 | 4SI IO-Link | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7137-6BD00-0BA0 | CM 4xIO-Link
6ES7138-4DB03-0AB0 | 1 SSI | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7138-6BA01-0BA0 | TM PosInput 1 | - | -
6ES7138-4DC01-0AB0 | 1 Step | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7138-6EB00-0BA0 | TM PTO 2x24V | 6ES7553-1AA00-0AB0 | TM StepDrive from Partner Phytron or ET 200MP TM PTO4
6ES7138-4DD01-0AB0 | 2 Pulse | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7138-6DB00-0BB1 | TM Pulse 2x24V | - | -
6ES7138-4DE02-0AB0 | 1 Count 5V | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7138-6BA01-0BA0 | TM PosInput 1 | - | -
6ES7138-4DL00-0AB0 | 1 Pos U | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7138-6AA01-0BA0 6ES7138-6BA01-0BA0 | TM Count 1x24V TM PosInput 1 | - | see ID: 109745386
6ES7138-4DF01-0AB0 | 1 SI ASCII | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7137-6AA01-0BA0 | CM PTP | - | -
6ES7138-4DF11-0AB0 | 1 SI Modbus/USS | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7137-6AA01-0BA0 | CM PTP | - | -
7MH4910-0AA01 | SIWAREX CS | 2020-10-01 | 2023-10-01 | 2030-10-01 | 7MH4138-6AA00-0BA0 | TM SIWAREX WP321 ST | - | -
7MH4920-0AA01 | SIWAREX CF | 2020-10-01 | 2023-10-01 | 2030-10-01 | 7MH4134-6LB00-0DA0 | AI 2xSG 4-/6-wire HS | - | -
Fail-safe IO modules |  |  |  |  | most likely comparable ET 200SP product |  | alternative or recommended ET 200SP product
6ES7138-4FA05-0AB0 | 4/8 F-DI DC24V PROFIsafe | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7136-6BA00-0CA0 | F-DI 8x24VDC HF | - | -
6ES7138-4FB04-0AB0 | 4 F-DO DC24V/2A PROFIsafe | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7136-6DB00-0CA0 | F-DQ 4xDC 24V/2A | 6ES7136-6DC00-0CA0 | F-DQ 8x 24VDC/0.5A PP
6ES7138-4FC01-0AB0 | 4 F-DI/3 F-DO DC24V PROFIsafe | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7136-6BA00-0CA0 | F-DI 8x24VDC HF | 6ES7136-6DB00-0CA0 | F-DQ 4xDC 24V/2A
6ES7138-4FR00-0AA0 | 1 F-RO DC24V/AC24..230V/5A | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7136-6RA00-0BF0 | F-RQ 1x24VDC/24..230VAC/5A ST | - | -
6ES7138-4CF03-0AB0 | PM-E F pm DC24V PROFIsafe | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7136-6PA00-0BC0 | F-PM-E PPM, 24V DC | - | -
6ES7138-4CF42-0AB0 | PM-E F pp DC24V PROFIsafe | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7136-6PA00-0BC0 | F-PM-E PPM, 24V DC | - | -
TM-E |  |  |  |  | most likely comparable ET 200SP product |  | alternative or recommended ET 200SP product
6ES7193-4CA20-0AA0 | TM-E15S24-A1, 5pcs | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6BP20-xxA0 | BU-Typ A0 | 6ES7193-6BP00-xxA0 | BU-Typ A0 + PotDis BU
6ES7193-4CA30-0AA0 | TM-E15C24-A1, 5pcs | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6BP20-xxA0 | BU-Typ A0 | 6ES7193-6BP00-xxA0 | BU-Typ A0 + PotDis BU
6ES7193-4CA40-0AA0 | TM-E15S26-A1, 5 PCS | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6BP20-xxA0 | BU-Typ A0 | 6ES7193-6BP00-xxA0 | BU-Typ A0 + PotDis BU
6ES7193-4CA50-0AA0 | TM-E15C26-A1, 5pcs. | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6BP20-xxA0 | BU-Typ A0 | 6ES7193-6BP00-xxA0 | BU-Typ A0 + PotDis BU
6ES7193-4CA70-0AA0 | TM-E15N24-A1, 5pcs | 2020-10-01 | 2021-10-01 | 2030-10-01 | 6ES7193-6BP20-xxA0 | BU-Typ A0 | 6ES7193-6BP00-xxA0 | BU-Typ A0 + PotDis BU
6ES7193-4CA80-0AA0 | TM-E15N26-A1, 5pcs | 2020-10-01 | 2021-10-01 | 2030-10-01 | 6ES7193-6BP20-xxA0 | BU-Typ A0 | 6ES7193-6BP00-xxA0 | BU-Typ A0 + PotDis BU
6ES7193-4CB00-0AA0 | TM-E15S23-01, 5pcs | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6BP00-xxA0 | BU-Typ A0 | - | -
6ES7193-4CB10-0AA0 | TM-E15C23-01, 5pcs | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6BP00-xxA0 | BU-Typ A0 | - | -
6ES7193-4CB20-0AA0 | TM-E15S24-01, 5pcs | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6BP00-xxA0 | BU-Typ A0 | - | -
6ES7193-4CB30-0AA0 | TM-E15C24-01, 5pcs | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6BP00-xxA0 | BU-Typ A0 | - | -
6ES7193-4CB60-0AA0 | TM-E15N23-01, 5pcs | 2020-10-01 | 2021-10-01 | 2030-10-01 | 6ES7193-6BP00-xxA0 | BU-Typ A0 | - | -
6ES7193-4CB70-0AA0 | TM-E15N24-01, 5pcs | 2020-10-01 | 2021-10-01 | 2030-10-01 | 6ES7193-6BP00-xxA0 | BU-Typ A0 | - | -
6ES7193-4CF40-0AA0 | TM-E30S46-A1 | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6BP20-xxA0 | BU-Typ A0 | 6ES7193-6BP…... | BU-Type B0, B1, U0
6ES7193-4CF50-0AA0 | TM-E30C46-A1 | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6BP20-xxA0 | BU-Typ A0 | 6ES7193-6BP…... | BU-Type B0, B1, U0
6ES7193-4CG20-0AA0 | TM-E30S44-01 | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6BP00-xxA0 | BU-Typ A0 | 6ES7193-6BP…... | BU-Type B0, B1, U0
6ES7193-4CG30-0AA0 | TM-E30C44-01 | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6BP00-xxA0 | BU-Typ A0 | 6ES7193-6BP…... | BU-Type B0, B1, U0
6ES7193-4CL20-0AA0 | TM-E15S24-AT | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6BP20-xxA0 | BU-Typ A1 | 6ES7193-6BP00-xxA0 | BU-Typ A1
6ES7193-4CL30-0AA0 | TM-E15C24-AT | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6BP20-xxA0 | BU-Typ A1 | 6ES7193-6BP00-xxA0 | BU-Typ A1
TM-P |  |  |  |  | most likely comparable ET 200SP product |  | alternative or recommended ET 200SP product
6ES7193-4CC20-0AA0 | TM-P15S23-A1 | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6BPxx-xDxx | light coloured BU | - | -
6ES7193-4CC20-1AA0 | TM-P15S23-A1, 5pcs | 2020-10-01 | 2021-10-01 | 2030-10-01 | 6ES7193-6BPxx-xDxx | light coloured BU | - | -
6ES7193-4CC30-0AA0 | TM-P15C23-A1 | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6BPxx-xDxx | light coloured BU | - | -
6ES7193-4CC30-1AA0 | TM-P15C23-A1, 5pcs | 2020-10-01 | 2021-10-01 | 2030-10-01 | 6ES7193-6BPxx-xDxx | light coloured BU | - | -
6ES7193-4CC70-0AA0 | TM-P15N23-A1 | 2020-10-01 | 2021-10-01 | 2030-10-01 | 6ES7193-6BPxx-xDxx | light coloured BU | - | -
6ES7193-4CD20-0AA0 | TM-P15S23-A0 | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6BPxx-xDxx | light coloured BU | - | -
6ES7193-4CD20-1AA0 | TM-P15S23-A0, 5pcs | 2020-10-01 | 2021-10-01 | 2030-10-01 | 6ES7193-6BPxx-xDxx | light coloured BU | - | -
6ES7193-4CD30-0AA0 | TM-P15C23-A0 | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6BPxx-xDxx | light coloured BU | - | -
6ES7193-4CD30-1AA0 | TM-P15C23-A0, 5pcs | 2020-10-01 | 2021-10-01 | 2030-10-01 | 6ES7193-6BPxx-xDxx | light coloured BU | - | -
6ES7193-4CD70-0AA0 | TM-P15N23-A0 | 2020-10-01 | 2021-10-01 | 2030-10-01 | 6ES7193-6BPxx-xDxx | light coloured BU | - | -
6ES7193-4CE00-0AA0 | TM-P15S22-01 | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6BPxx-xDxx | light coloured BU | - | -
6ES7193-4CE00-1AA0 | TM-P15S22-01, 5pcs | 2020-10-01 | 2021-10-01 | 2030-10-01 | 6ES7193-6BPxx-xDxx | light coloured BU | - | -
6ES7193-4CE10-0AA0 | TM-P15C22-01 | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6BPxx-xDxx | light coloured BU | - | -
6ES7193-4CE10-1AA0 | TM-P15C22-01, 5pcs | 2020-10-01 | 2021-10-01 | 2030-10-01 | 6ES7193-6BPxx-xDxx | light coloured BU | - | -
6ES7193-4CE60-0AA0 | TM-P15N22-01 | 2020-10-01 | 2021-10-01 | 2030-10-01 | 6ES7193-6BPxx-xDxx | light coloured BU | - | -
6ES7193-4CF40-0AA0 | TM-E30S46-A1 | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6BPxx-xDxx | light coloured BU | - | -
6ES7193-4CF50-0AA0 | TM-E30C46-A1 | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6BPxx-xDxx | light coloured BU | - | -
6ES7193-4CK20-0AA0 | TM-P30S44-A0 | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6BPxx-xDxx | light coloured BU | - | -
6ES7193-4CK30-0AA0 | TM-P30C44-A0 | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6BPxx-xDxx | light coloured BU | - | -
Accessories, spare parts |  |  |  |  | most likely comparable ET 200SP product |  | alternative or recommended ET 200SP product
6ES71384AA010AA0 | Reserve module 15mm | 2020-10-01 | 2023-10-01 | 2030-10-01
6ES71384AA110AA0 | Reserve module 30mm | 2020-10-01 | 2023-10-01 | 2030-10-01
6ES7193-4JB00-0AA0 | Connector, female, 2x2-pin | not planned | not planned | not planned | 6ES7193-4JB00-0AA0 | Connector, female, 2x2-pin | - | -
6ES7193-4GA00-0AA0 | Shield Conn.Elem. TM-P/E, 5pcs | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6SC00-1AM0 | 5 shielding Connections | - | -
6ES7193-4GB00-0AA0 | Terminal Elements, 5pcs | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6SC00-1AM0 | 5 shielding Connections | - | -
6ES7193-4JA00-0AA0 | Terminating Module | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6PA00-0AA0 | spare part Server module for ET 200SP | - | -
6ES7193-4JB50-0AA0 | DC 24V Plug, screw-type, 10 PCS. | 2020-10-01 | 2021-10-01 | 2021-10-01 | 6ES7193-4JB00-0AA0 | Connector, female, 2x2-pin | - | -
6ES7193-4LA20-0AA0 | coding Plates, white, 200 PCS | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6CPxx…. | 10 color-coded labels Color code xx | - | -
6ES7193-4LB20-0AA0 | coding Plates, yellow, 200 PCS | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6CPxx…. | 10 color-coded labels Color code xx | - | -
6ES7193-4LC20-0AA0 | coding Plates, yellow-green, 200 PCS | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6CPxx…. | 10 color-coded labels Color code xx | - | -
6ES7193-4LD20-0AA0 | coding Plates, red, 200 PCS | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6CPxx…. | 10 color-coded labels Color code xx | - | -
6ES7193-4LF20-0AA0 | coding Plates, Blue, 200 PCS | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6CPxx…. | 10 color-coded labels Color code xx | - | -
6ES7193-4LG20-0AA0 | coding Plates, Brown, 200 PCS | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6CPxx…. | 10 color-coded labels Color code xx | - | -
6ES7193-4LH20-0AA0 | coding Plates, turquoise, 200pcs | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6CPxx…. | 10 color-coded labels Color code xx | - | -
6ES7193-4BA00-0AA0 | Labeling sheet A4, white, 10 un. | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6LA10-0AA0 | 1000 labeling strips, light gray, 10 sheets DIN A4, perforated, paper, 180G/M2 | 6ES7193-6LR10-0AA0 | 500 labeling strips, light gray, roll with 500 strips
6ES7193-4BB00-0AA0 | Labeling sheet DIN A4, yellow, 10 un. | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6LA10-0AG0 | 1000 labeling strips, yellow, 10 sheets DIN A4, perforated, paper, 180g/m2 | 6ES7193-6LR10-0AG0 | 500 labeling strips, yellow, roll with 500 strips
6ES7193-4BD00-0AA0 | Labeling sheet DIN A4, red, 10 un. | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6LA10-0AA0 | 1000 labeling strips, light gray, 10 sheets DIN A4, perforated, paper, 180G/M2 | 6ES7193-6LR10-0AA0 | 500 labeling strips, light gray, roll with 500 strips
6ES7193-4BH00-0AA0 | Labeling sheet DIN A4, petrol, 10 un. | 2020-10-01 | 2023-10-01 | 2030-10-01 | 6ES7193-6LA10-0AA0 | 1000 labeling strips, light gray, 10 sheets DIN A4, perforated, paper, 180G/M2 | 6ES7193-6LR10-0AA0 | 500 labeling strips, light gray, roll with 500 strips
Accessories ET 200S Compact |  |  |  |  | most likely comparable ET 200SP product |  | alternative or recommended ET 200SP product
6ES7193-4DL00-0AA0 | TM-C120C, spring-loaded | 2017-07-01 | 2020-10-01 | 2027-10-01 | 6ES7193-6BP00-xxA0 | BU-Typ A0 | 6ES7193-6BP20-xxA0 | BU-Typ A0
6ES7193-4DL10-0AA0 | TM-C120S, Screw Term. | 2017-07-01 | 2020-10-01 | 2027-10-01 | 6ES7193-6BP00-xxA0 | BU-Typ A0 | 6ES7193-6BP20-xxA0 | BU-Typ A0
6ES7193-4FL00-0AA0 | Add-on terminal 3-wire, spring | 2017-07-01 | 2020-10-01 | 2027-10-01 | 6ES7193-6BP00-xxA0 | BU-Typ A0 + PotDis BU | - | -
6ES7193-4FL10-0AA0 | Add-on terminal 3-wire, screw | 2017-07-01 | 2020-10-01 | 2027-10-01 | 6ES7193-6BP00-xxA0 | BU-Typ A0 + PotDis BU | - | -
6ES7193-4BA10-0AA0 | Labelling Sheets, ET200S Comp., beige | 2017-07-01 | 2020-10-01 | 2027-10-01 | 6ES7193-6LA10-0AA0 | 1000 labeling strips, light gray, 10 sheets DIN A4, perforated, paper, 180G/M2 | 6ES7193-6LR10-0AA0 | 500 labeling strips, light gray, roll with 500 strips
6ES7193-4BB10-0AA0 | Labelling Sheets, ET200S Comp., yellow | 2017-07-01 | 2020-10-01 | 2027-10-01 | 6ES7193-6LA10-0AG0 | 1000 labeling strips, yellow, 10 sheets DIN A4, perforated, paper, 180g/m2 | 6ES7193-6LR10-0AG0 | 500 labeling strips, yellow, roll with 500 strips
6ES7193-4BD10-0AA0 | Labelling Sheets, ET200S Comp., red | 2017-07-01 | 2020-10-01 | 2027-10-01 | 6ES7193-6LA10-0AA0 | 1000 labeling strips, light gray, 10 sheets DIN A4, perforated, paper, 180G/M2 | 6ES7193-6LR10-0AA0 | 500 labeling strips, light gray, roll with 500 strips
6ES7193-4BH10-0AA0 | Labelling Sheets, ET200S Comp., Petrol | 2017-07-01 | 2020-10-01 | 2027-10-01 | 6ES7193-6LA10-0AA0 | 1000 labeling strips, light gray, 10 sheets DIN A4, perforated, paper, 180G/M2 | 6ES7193-6LR10-0AA0 | 500 labeling strips, light gray, roll with 500 strips

## ET 200S motor starter
Migration from ET 200S |  |  |  |  | to ET 200SP (detailled)
MLFB | Description | Announcement of product phase-out (PM400) available as new part until PM410 | Product cancellation (PM410) available only as spare part, delivery may be restricted | Product discontinuation (PM490) spare parts not available any more, only in case of warranty | MLFB | Description | MLFB | Description
Standard motor starter |  |  |  |  | most likely comparable ET 200SP product |  | alternative or recommended ET 200SP product
3RK13010BB000AA2 | Direct-on-line starter ST, 0,14-0,20A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0AA00-0CP0 | Direct-on-line starter 0,1 - 0,4A HF | 3RK1308-0CA00-0CP0 | Failsfafe direct-on-line starter 0,1 - 0,4A HF
3RK13010BB001AA2 | Reversing starter ST, 0,14-0,20A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0BA00-0CP0 | Reversing starter 0,1 - 0,4A HF | 3RK1308-0DA00-0CP0 | Failsafe reversing starter 0,1 - 0,4A HF
3RK13010CB000AA2 | Direct-on-line starter ST, 0,18-0,25A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0AA00-0CP0 | Direct-on-line starter 0,1 - 0,4A HF | 3RK1308-0CA00-0CP0 | Failsfafe direct-on-line starter 0,1 - 0,4A HF
3RK13010CB001AA2 | Reversing starter ST, 0,18-0,25A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0BA00-0CP0 | Reversing starter 0,1 - 0,4A HF | 3RK1308-0DA00-0CP0 | Failsafe reversing starter 0,1 - 0,4A HF
3RK13010DB000AA2 | Direct-on-line starter ST, 0,22-0,32A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0AA00-0CP0 | Direct-on-line starter 0,1 - 0,4A HF | 3RK1308-0CA00-0CP0 | Failsfafe direct-on-line starter 0,1 - 0,4A HF
3RK13010DB001AA2 | Reversing starter ST, 0,22-0,32A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0BA00-0CP0 | Reversing starter 0,1 - 0,4A HF | 3RK1308-0DA00-0CP0 | Failsafe reversing starter 0,1 - 0,4A HF
3RK13010EB000AA2 | Direct-on-line starter ST, 0,28-0,40A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0AB00-0CP0 | Direct-on-line starter 0,3 - 1A HF | 3RK1308-0CB00-0CP0 | Failsfafe direct-on-line starter 0,3 - 1A HF
3RK13010EB001AA2 | Reversing starter ST, 0,28-0,40A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0BB00-0CP0 | Reversing starter 0,3 - 1A HF | 3RK1308-0DB00-0CP0 | Failsafe reversing starter 0,3 - 1A HF
3RK13010FB000AA2 | Direct-on-line starter ST, 0,35-0,50A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0AB00-0CP0 | Direct-on-line starter 0,3 - 1A HF | 3RK1308-0CB00-0CP0 | Failsfafe direct-on-line starter 0,3 - 1A HF
3RK13010FB001AA2 | Reversing starter ST, 0,35-0,50A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0BB00-0CP0 | Reversing starter 0,3 - 1A HF | 3RK1308-0DB00-0CP0 | Failsafe reversing starter 0,3 - 1A HF
3RK13010GB000AA2 | Direct-on-line starter ST, 0,45-0,63A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0AB00-0CP0 | Direct-on-line starter 0,3 - 1A HF | 3RK1308-0CB00-0CP0 | Failsfafe direct-on-line starter 0,3 - 1A HF
3RK13010GB001AA2 | Reversing starter ST, 0,45-0,63A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0BB00-0CP0 | Reversing starter 0,3 - 1A HF | 3RK1308-0DB00-0CP0 | Failsafe reversing starter 0,3 - 1A HF
3RK13010HB000AA2 | Direct-on-line starter ST, 0,55-0,80A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0AB00-0CP0 | Direct-on-line starter 0,3 - 1A HF | 3RK1308-0CB00-0CP0 | Failsfafe direct-on-line starter 0,3 - 1A HF
3RK13010HB001AA2 | Reversing starter ST, 0,55-0,80A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0BB00-0CP0 | Reversing starter 0,3 - 1A HF | 3RK1308-0DB00-0CP0 | Failsafe reversing starter 0,3 - 1A HF
3RK13010JB000AA2 | Direct-on-line starter ST, 0,70-1,00A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0AB00-0CP0 | Direct-on-line starter 0,3 - 1A HF | 3RK1308-0CB00-0CP0 | Failsfafe direct-on-line starter 0,3 - 1A HF
3RK13010JB001AA2 | Reversing starter ST, 0,70-1,00A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0BB00-0CP0 | Reversing starter 0,3 - 1A HF | 3RK1308-0DB00-0CP0 | Failsafe reversing starter 0,3 - 1A HF
3RK13010KB000AA2 | Direct-on-line starter ST, 0,90-1,25A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0AC00-0CP0 | Direct-on-line starter 0,9 - 3A HF | 3RK1308-0CC00-0CP0 | Failsfafe direct-on-line starter 0,9 - 3A HF
3RK13010KB001AA2 | Reversing starter ST, 0,90-1,25A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0BC00-0CP0 | Reversing starter 0,9 - 3A HF | 3RK1308-0DC00-0CP0 | Failsafe reversing starter 0,9 - 3A HF
3RK13011AB000AA2 | Direct-on-line starter ST, 1,10-1,60A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0AC00-0CP0 | Direct-on-line starter 0,9 - 3A HF | 3RK1308-0CC00-0CP0 | Failsfafe direct-on-line starter 0,9 - 3A HF
3RK13011AB001AA2 | Reversing starter ST, 1,10-1,60A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0BC00-0CP0 | Reversing starter 0,9 - 3A HF | 3RK1308-0DC00-0CP0 | Failsafe reversing starter 0,9 - 3A HF
3RK13011BB000AA2 | Direct-on-line starter ST, 1,40-2,00A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0AC00-0CP0 | Direct-on-line starter 0,9 - 3A HF | 3RK1308-0CC00-0CP0 | Failsfafe direct-on-line starter 0,9 - 3A HF
3RK13011BB001AA2 | Reversing starter ST, 1,40-2,00A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0BC00-0CP0 | Reversing starter 0,9 - 3A HF | 3RK1308-0DC00-0CP0 | Failsafe reversing starter 0,9 - 3A HF
3RK13011CB000AA2 | Direct-on-line starter ST, 1,80 -2,50A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0AC00-0CP0 | Direct-on-line starter 0,9 - 3A HF | 3RK1308-0CC00-0CP0 | Failsfafe direct-on-line starter 0,9 - 3A HF
3RK13011CB001AA2 | Reversing starter ST, 1,80-2,50A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0BC00-0CP0 | Reversing starter 0,9 - 3A HF | 3RK1308-0DC00-0CP0 | Failsafe reversing starter 0,9 - 3A HF
3RK13011DB000AA2 | Direct-on-line starter ST, 2,20-3,20A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0AC00-0CP0 | Direct-on-line starter 0,9 - 3A HF | 3RK1308-0CC00-0CP0 | Failsfafe direct-on-line starter 0,9 - 3A HF
3RK13011DB001AA2 | Reversing starter ST, 2,20-3,20A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0BC00-0CP0 | Reversing starter 0,9 - 3A HF | 3RK1308-0DC00-0CP0 | Failsafe reversing starter 0,9 - 3A HF
3RK13011EB000AA2 | Direct-on-line starter ST, 2,80-4,00A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0AD00-0CP0 | Direct-on-line starter 2,8 - 9A HF | 3RK1308-0CD00-0CP0 | Failsfafe direct-on-line starter 2,8 - 9A HF
3RK13011EB001AA2 | Reversing starter ST, 2,80-4,00A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0BD00-0CP0 | Reversing starter 2,8 - 9A HF | 3RK1308-0DD00-0CP0 | Failsafe reversing starter 2,8 - 9A HF
3RK13011FB000AA2 | Direct-on-line starter ST, 3,50-5,00A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0AD00-0CP0 | Direct-on-line starter 2,8 - 9A HF | 3RK1308-0CD00-0CP0 | Failsfafe direct-on-line starter 2,8 - 9A HF
3RK13011FB001AA2 | Reversing starter ST, 3,50-5,00A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0BD00-0CP0 | Reversing starter 2,8 - 9A HF | 3RK1308-0DD00-0CP0 | Failsafe reversing starter 2,8 - 9A HF
3RK13011GB000AA2 | Direct-on-line starter ST, 4,50-6,30A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0AD00-0CP0 | Direct-on-line starter 2,8 - 9A HF | 3RK1308-0CD00-0CP0 | Failsfafe direct-on-line starter 2,8 - 9A HF
3RK13011GB001AA2 | Reversing starter ST, 4,50-6,30A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0BD00-0CP0 | Reversing starter 2,8 - 9A HF | 3RK1308-0DD00-0CP0 | Failsafe reversing starter 2,8 - 9A HF
3RK13011HB000AA2 | Direct-on-line starter ST, 5,50-8,00A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0AE00-0CP0 | Direct-on-line starter 4,0 - 12A HF | 3RK1308-0CE00-0CP0 | Failsfafe direct-on-line starter 4,0 - 12A HF
3RK13011HB001AA2 | Reversing starter ST, 5,50-8,00A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0BE00-0CP0 | Reversing starter 4,0 - 12A HF | 3RK1308-0DE00-0CP0 | Failsafe reversing starter 4,0 - 12A HF
3RK13011JB000AA2 | Direct-on-line starter ST, 7,00-10,00A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0AE00-0CP0 | Direct-on-line starter 4,0 - 12A HF | 3RK1308-0CE00-0CP0 | Failsfafe direct-on-line starter 4,0 - 12A HF
3RK13011JB001AA2 | Reversing starter ST, 7,00-10,00A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0BE00-0CP0 | Reversing starter 4,0 - 12A HF | 3RK1308-0DE00-0CP0 | Failsafe reversing starter 4,0 - 12A HF
3RK13011KB000AA2 | Direct-on-line starter ST, 9,00-12,00A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0AE00-0CP0 | Direct-on-line starter 4,0 - 12A HF | 3RK1308-0CE00-0CP0 | Failsfafe direct-on-line starter 4,0 - 12A HF
3RK13011KB001AA2 | Reversing starter ST, 9,00-12,00A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1308-0BE00-0CP0 | Reversing starter 4,0 - 12A HF | 3RK1308-0DE00-0CP0 | Failsafe reversing starter 4,0 - 12A HF
High Feature motor starter
3RK13010AB100AB4 | Direct-on-line starter HF, 0,3-3,0A | 2020-10-01 | 2023-01-01 | 2023-10-01 | 3RK1308-0AC00-0CP0 | Direct-on-line starter 0,9 - 3A HF | 3RK1308-0AB00-0CP0 | Direct-on-line starter 0,3 - 1A HF
3RK13010AB101AB4 | Reversing starter HF, 0,3-3,0A | 2020-10-01 | 2023-01-01 | 2023-10-01 | 3RK1308-0BC00-0CP0 | Reversing starter 0,9 - 3A HF | 3RK1308-0BB00-0CP0 | Reversing starter 0,3 - 1A HF
3RK13010BB100AB4 | Direct-on-line starter HF, 2,4-8,0A | 2020-10-01 | 2023-01-01 | 2023-10-01 | 3RK1308-0AD00-0CP0 | Direct-on-line starter 2,8 - 9A HF | 3RK1308-0AE00-0CP0 | Direct-on-line starter 4,0 - 12A HF
3RK13010BB101AB4 | Reversing starter HF, 2,4-8,0A | 2020-10-01 | 2023-01-01 | 2023-10-01 | 3RK1308-0BD00-0CP0 | Reversing starter 2,8 - 9A HF | 3RK1308-0BE00-0CP0 | Reversing starter 4,0 - 12A HF
3RK13010CB100AB4 | Direct-on-line starter HF, 2,4-16,0A | 2020-10-01 | 2023-01-01 | 2023-10-01 | 3RK1308-0AE00-0CP0 | Direct-on-line starter 4,0 - 12A HF | 3RA2120-4AE26-0BB4 | SIRIUS load feeder 10,0 - 16A
3RK13010CB101AB4 | Reversing starter HF, 2,4-16,0A | 2020-10-01 | 2023-01-01 | 2023-10-01 | 3RK1308-0BE00-0CP0 | Reversing starter 4,0 - 12A HF | 3RA2220-4AF26-0BB4 | SIRIUS load feeder 10,0 - 16A
Failsafe High Feature motor starter
3RK13010AB130AA2 | Failsafe Direct-on-line starter HF, 0,3-3,0A | 2020-10-01 | 2023-01-01 | 2023-10-01 | 3RK1308-0CC00-0CP0 | Failsfafe direct-on-line starter 0,9 - 3A HF | 3RK1308-0CB00-0CP0 | Failsfafe direct-on-line starter 0,3 - 1A HF
3RK13010AB130AA4 | Failsafe Direct-on-line starter HF, 0,3-3,0A | 2020-10-01 | 2023-01-01 | 2023-10-01 | 3RK1308-0CC00-0CP0 | Failsfafe direct-on-line starter 0,9 - 3A HF | 3RK1308-0CB00-0CP0 | Failsfafe direct-on-line starter 0,3 - 1A HF
3RK13010AB131AA2 | Failsafe reversing starter HF, 0,3-3,0A | 2020-10-01 | 2023-01-01 | 2023-10-01 | 3RK1308-0DC00-0CP0 | Failsafe reversing starter 0,9 - 3A HF | 3RK1308-0DB00-0CP0 | Failsafe reversing starter 0,3 - 1A HF
3RK13010AB131AA4 | Failsafe reversing starter HF, 0,3-3,0A | 2020-10-01 | 2023-01-01 | 2023-10-01 | 3RK1308-0DC00-0CP0 | Failsafe reversing starter 0,9 - 3A HF | 3RK1308-0DB00-0CP0 | Failsafe reversing starter 0,3 - 1A HF
3RK13010BB130AA2 | Failsafe Direct-on-line starter HF, 2,4-8,0A | 2020-10-01 | 2023-01-01 | 2023-10-01 | 3RK1308-0CD00-0CP0 | Failsfafe direct-on-line starter 2,8 - 9A HF | 3RK1308-0CE00-0CP0 | Failsfafe direct-on-line starter 4,0 - 12A HF
3RK13010BB130AA4 | Failsafe Direct-on-line starter HF,2,4-8,0A | 2020-10-01 | 2023-01-01 | 2023-10-01 | 3RK1308-0CD00-0CP0 | Failsfafe direct-on-line starter 2,8 - 9A HF | 3RK1308-0CE00-0CP0 | Failsfafe direct-on-line starter 4,0 - 12A HF
3RK13010BB131AA2 | Failsafe reversing starter HF, 2,4-8,0A | 2020-10-01 | 2023-01-01 | 2023-10-01 | 3RK1308-0DD00-0CP0 | Failsafe reversing starter 2,8 - 9A HF | 3RK1308-0DE00-0CP0 | Failsafe reversing starter 4,0 - 12A HF
3RK13010BB131AA4 | Failsafe reversing starter HF, 2,4-8,0A | 2020-10-01 | 2023-01-01 | 2023-10-01 | 3RK1308-0DD00-0CP0 | Failsafe reversing starter 2,8 - 9A HF | 3RK1308-0DE00-0CP0 | Failsafe reversing starter 4,0 - 12A HF
3RK13010CB130AA2 | Failsafe Direct-on-line starter HF, 2,4-16,0A | 2020-10-01 | 2023-01-01 | 2023-10-01 | 3RK1308-0CE00-0CP0 | Failsfafe direct-on-line starter 4,0 - 12A HF | 3RA2120-4AE26-0BB4 | SIRIUS load feeder 10,0 - 16A
3RK13010CB130AA4 | Failsafe Direct-on-line starter HF, 2,4-16,0A | 2020-10-01 | 2023-01-01 | 2023-10-01 | 3RK1308-0CE00-0CP0 | Failsfafe direct-on-line starter 4,0 - 12A HF | 3RA2120-4AE26-0BB4 | SIRIUS load feeder 10,0 - 16A
3RK13010CB131AA2 | Failsafe reversing starter HF, 2,4-16,0A | 2020-10-01 | 2023-01-01 | 2023-10-01 | 3RK1308-0DE00-0CP0 | Failsafe reversing starter 4,0 - 12A HF | 3RA2220-4AF26-0BB4 | SIRIUS load feeder 10,0 - 16A
3RK13010CB131AA4 | Failsafe reversing starter HF, 2,4-16,0A | 2020-10-01 | 2023-01-01 | 2023-10-01 | 3RK1308-0DE00-0CP0 | Failsafe reversing starter 4,0 - 12A HF | 3RA2220-4AF26-0BB4 | SIRIUS load feeder 10,0 - 16A
High Feature soft starter
3RK13010AB200AB4 | Direct soft starter HF, 0,3-3,0A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RW* + 3RK1308 | SIRIUS soft starter + ET 200SP motor starter
3RK13010BB200AB4 | Direct soft starter HF, 2,4-8,0A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RW* + 3RK1308 | SIRIUS soft starter + ET 200SP motor starter
3RK13010CB200AB4 | Direct soft starter HF, 2,4-16,0A | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RW* + 3RK1308 | SIRIUS soft starter + ET 200SP motor starter
Terminal modules/accessories
3RK1903* | Terminal modules/Accessories | 2020-10-01 | 2023-10-01 | not later than 01.10.2030 | 3RK1908* | BaseUnits/Accessories

## SIPLUS components
Migration from ET 200S SIPLUS |  |  |  |  | to ET 200SP SIPLUS
MLFB | Description | Announcement of product phase-out (PM400) available as new part until PM410 | Product cancellation (PM410) available only as spare part, delivery may be restricted | Product discontinuation (PM490) spare parts not available any more, only in case of warranty | MLFB | Description | MLFB | Description
IM |  |  |  |  | most likely comparable ET 200SP product |  | alternative or recommended ET 200SP product
6AG1151-1AA06-7AB0 | SIPLUS ET200S IM151-1 standard | 2020-10-01 | 2021-10-01 | not planned, but not before 01.10.2030 | 6AG1155-6BA00-7CN0 | SIPLUS ET 200SP IM155-6DP HF | 6AG1155-6AA01-7BN0 | SIPLUS ET 200SP IM155-6PN ST / BA
6AG1151-1BA02-2AB0 | SIPLUS ET200S IM151 HF | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1155-6BA00-7CN0 | SIPLUS ET 200SP IM155-6DP HF | 6AG1155-6AU01-2CN0 | SIPLUS ET 200SP IM155-6PN HF
6AG1151-3AA23-2AB0 | SIPLUS ET200S IM151-3 St | 2020-10-01 | 2021-10-01 | not planned, but not before 01.10.2030 | 6AG1155-6AA01-7BN0 | SIPLUS ET 200SP IM155-6PN ST / BA | 6AG1155-6AA01-7BN0 | SIPLUS ET 200SP IM155-6PN ST / BA
6AG1151-3BA23-7AB0 | SIPLUS ET200S IM151-3 PN HF | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1155-6AU01-2CN0 | SIPLUS ET 200SP IM155-6PN HF | 6AG1155-6AU01-2CN0 | SIPLUS ET 200SP IM155-6PN HF
CPU |  |  |  |  | most likely comparable ET 200SP product |  | alternative or recommended ET 200SP product
6AG1151-7AA21-2AB0 | SIPLUS ET200S IM151-7 CPU | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1510-1DJ01-2AB0 | SIPLUS ET 200SP CPU 1510SP-1 PN
6AG1151-7AA21-2AB0 | SIPLUS ET200S IM151-7 CPU | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2031 | 6AG1512-1DK01-2AB0 | SIPLUS ET 200SP CPU 1512SP-1 PN | 6AG1510-1DJ01-2AB0 | SIPLUS ET 200SP CPU 1510SP-1 PN
6AG1151-7FA21-2AB0 | SIPLUS ET200S IM151-7 F-CPU | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1510-1SJ01-2AB0 | SIPLUS ET 200SP CPU 1510SP F-1 PN | 6AG1512-1SK01-2AB0 | SIPLUS ET 200SP CPU 1512SP F-1 PN
6AG1151-8AB01-7AB0 | SIPLUS ET200S IM151-8 PN/DP CPU | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1512-1DK01-2AB0 | SIPLUS ET 200SP CPU 1512SP-1 PN | 6AG1510-1DJ01-2AB0 | SIPLUS ET 200SP CPU 1510SP-1 PN
6AG1138-4HA00-7AB0 | SIPLUS ET200S DP-Masteranschalt | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1545-5DA00-2AB0 | SIPLUS ET 200SP CM DP
DI |  |  |  |  | most likely comparable ET 200SP product |  | alternative or recommended ET 200SP product
6AG1131-4BD01-2AA0 | SIPLUS ET200S EM 4DI | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1131-6BF01-7BA0 | SIPLUS ET 200SP DI 8x24VDC ST
6AG1131-4BD01-7AB0 | SIPLUS ET200S EM 4DI | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1131-6BF00-7CA0 | SIPLUS ET 200SP DI 8x24VDC HF | 6AG1131-6BF01-7BA0 | SIPLUS ET 200SP DI 8x24VDC ST
6AG1131-4BF00-7AA0 | SIPLUS ET200S EM 8 DI | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1131-6BH01-7BA0 | SIPLUS ET 200SP DI 16x24VDC ST
6AG1131-4BF50-7AA0 | SIPLUS ET200S EM 8 DI DC 24 V | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1131-6BF60-7AA0 | SIPLUS ET 200SP DI 8X24VDC SOURCE BA
DO |  |  |  |  | most likely comparable ET 200SP product |  | alternative or recommended ET 200SP product
6AG1132-4BB01-2AB0 | SIPLUS ET200S EM 2DO HF | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1132-6BF00-7CA0 | SIPLUS ET 200SP DQ 8X24VDC/0,5A HF | 6AG1132-6BF01-7BA0 | SIPLUS ET 200SP DQ 8x24VDC/0,5A ST
6AG1132-4BD02-7AA0 | SIPLUS ET200S EM 4DO | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1132-6BF01-7BA0 | SIPLUS ET 200SP DQ 8x24VDC/0,5A ST
6AG1132-4BB31-7AB0 | SIPLUS ET200S EM 2DO HF | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1132-6BD20-7CA0 | SIPLUS ET 200SP DQ 4X24VDC/2A HF | 6AG1132-6BD20-7BA0 | SIPLUS ET 200SP DQ 4x24VDC/2A ST
6AG1132-4BD32-2AA0 | SIPLUS ET200S EM 4DO DC 24 V/ 2 A | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1132-6BD20-7BA0 | SIPLUS ET 200SP DQ 4x24VDC/2A ST
6AG1132-4BF00-7AA0 | SIPLUS ET200S EM 8 DO | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1132-6BH01-7BA0 | SIPLUS ET 200SP DQ 16x24VDC/0,5A ST
6AG1132-4BF50-7AA0 | SIPLUS ET200S EM 8 DO DC24V/0.5A | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1132-6BF61-7AA0 | SIPLUS ET 200SP DQ 8x24VDC/0,5A SNK BA
ET 200S SIPLUS |  |  |  |  | most likely comparable ET 200SP product |  | alternative or recommended ET 200SP product
6AG1134-4FB01-2AB0 | SIPLUS ET200S EM 2AI Standard U | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 |  |  | 6AG1134-6HD01-2BA1 | SIPLUS ET 200SP AI 4xU/I 2-w ST
6AG1134-4LB02-2AB0 | SIPLUS ET200S EM 2AI HF | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1134-6HB00-2CA1 | SIPLUS ET 200SP AI 2 X U/I 2-, 4-WIRE HF
6AG1134-4GB01-2AB0 | SIPLUS ET200S EM 2AI Standard I-2DMU | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 |  |  | 6AG1134-6HD01-2BA1 | SIPLUS ET 200SP AI 4xU/I 2-w ST
6AG1134-4GD00-2AB0 | SIPLUS ET200S EM 4 AI I 2WIRE | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1134-6HD01-2BA1 | SIPLUS ET 200SP AI 4xU/I 2-w ST | 6AG1134-6GF00-7AA1 | SIPLUS ET 200SP AI 8XI 2-/4-WIRE BA
6AG1134-4GB52-2AB0 | SIPLUS ET200S EM 2AI high speed | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1134-6HB00-2DA1 | SIPLUS ET 200SP AI 2 X U/I 2-, 4-WIRE HS | 6AG1134-6HB00-2CA1 | SIPLUS ET 200SP AI 2 X U/I 2-, 4-WIRE HF
6AG1134-4GB11-2AB0 | SIPLUS ET200S EM 2AI I-4DMU | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1134-6GD01-2BA1 | SIPLUS ET 200SP AI 4xI 2-/4-w ST | 6AG1134-6GF00-7AA1 | SIPLUS ET 200SP AI 8XI 2-/4-WIRE BA
6AG1134-4MB02-2AB0 | SIPLUS ET200S EM 2 AI I HF | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1134-6HB00-2CA1 | SIPLUS ET 200SP AI 2 X U/I 2-, 4-WIRE HF
6AG1134-4JB51-7AB0 | SIPLUS ET200S EM 2AI RTD | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1134-6JD00-2CA1 | SIPLUS ET 200SP AI 4xRTD/TC HF | 6AG1134-6JF00-2CA1 | SIPLUS ET 200SP AI 8XRTD/TC 2-WIRE HF
6AG1134-4NB51-2AB0 | SIPLUS ET200S EM 2AI RTD HF | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1134-6JD00-2CA1 | SIPLUS ET 200SP AI 4xRTD/TC HF | 6AG1134-6JF00-2CA1 | SIPLUS ET 200SP AI 8XRTD/TC 2-WIRE HF
6AG1134-4NB01-7AB0 | SIPLUS ET200S 2 AI TC HF | 2020-10-01 | not planned | not planned, but not before 01.10.2030 | 6AG1134-6JD00-2CA1 | SIPLUS ET 200SP AI 4xRTD/TC HF
AO |  |  |  |  | most likely comparable ET 200SP product |  | alternative or recommended ET 200SP product
6AG1135-4FB01-2AB0 | SIPLUS ET200S EM 2AO U | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 |  |  | 6AG1135-6HD00-7BA1 | SIPLUS ET 200SP AQ 4xU/I ST
6AG1135-4GB01-2AB0 | SIPLUS ET200S EM 2AO I Standard | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1135-6GB00-7BA1 | SIPLUS ET 200SP AQ 2xI STANDARD | 6AG1135-6HD00-7BA1 | SIPLUS ET 200SP AQ 4xU/I ST
6AG1135-4LB02-7AB0 | SIPLUS ET200S EM 2AO U high feature | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1135-6HB00-7CA1 | SIPLUS ET 200SP AQ 2xU/I HF | 6AG1135-6HB00-2DA1 | SIPLUS ET 200SP AQ 2 X U/I HIGH SPEED
PM-E |  |  |  |  | most likely comparable ET 200SP product |  | alternative or recommended ET 200SP product
6AG1138-4CA01-2AA0 | SIPLUS ET200S PM-E | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030
6AG1138-4CA50-2AB0 | SIPLUS ET200S PM-E 24 V- 48 V | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1193-6BP00-7DU0 | SIPLUS ET 200SP BU20-P16+A0+2D
|  | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030
|  | 2018-10-01 | 2019-10-01 | 2028-10-01
6AG1138-4CB11-2AB0 | SIPLUS ET200S PM-E DC/AC | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1193-6BP00-7DU0 | SIPLUS ET 200SP BU20-P16+A0+2D | 6AG1193-6BP20-7BB1 | SIPLUS ET 200SP BU20-P12+A0+4B TYP B1
|  | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030
Technology modules |  |  |  |  | most likely comparable ET 200SP product |  | alternative or recommended ET 200SP product
6AG1138-4DA04-2AB0 | SIPLUS ET200S EM 1Count 24 V/ 100 kHz | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1138-6AA01-2BA0 | SIPLUS ET 200SP TM COUNT 1X24V
6AG1138-4DD01-7AB0 | SIPLUS ET200S EM 2 Pulse | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1138-6DB00-2BB1 | SIPLUS ET 200SP TM PULSE 2x24V
6AG1138-4DF01-7AB0 | SIPLUS ET200S EM 1SI | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1137-6AA00-2BA0 | SIPLUS ET 200SP CM PTP
6AG1138-4DF11-7AB0 | SIPLUS ET200S EM 1SI RS232/422 | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1137-6AA00-2BA0 | SIPLUS ET 200SP CM PTP
Fail-safe IO modules |  |  |  |  | most likely comparable ET 200SP product |  | alternative or recommended ET 200SP product
6AG1138-4FA05-2AB0 | SIPLUS ET200S EM F-DI 24V Profisafe | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1136-6BA00-2CA0 | SIPLUS ET 200SP F-DI 4/8x24VDC HF
6AG1138-4FB04-2AB0 | SIPLUS ET200S EM F-DO 24V Profisafe | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1136-6DB00-2CA0 | SIPLUS ET 200SP F-DQ 4x24VDC/2A PM HF | 6AG1136-6DC00-2CA0 | SIPLUS ET 200SP F-DQ 8x24VDC/0.5A PP HF
TM-E |  |  |  |  | most likely comparable ET 200SP product |  | alternative or recommended ET 200SP product
6AG1193-4CA30-2AA0 | SIPLUS ET200S TM-E15C24-A1 | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1193-6BP20-xxA0 | SIPLUS ET 200SP BU
6AG1193-4CA40-2AA0 | SIPLUS ET200S TM-E15S26-A1 | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1193-6BP20-xxA0 | SIPLUS ET 200SP BU
6AG1193-4CA50-2AA0 | SIPLUS ET200S TM-E15C26-A1 | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1193-6BP20-xxA0 | SIPLUS ET 200SP BU
6AG1193-4CB10-7AA0 | SIPLUS ET200S TM-E15C23-01 | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1193-6BP00-xxA0 | SIPLUS ET 200SP BU
6AG1193-4CB30-2AA0 | SIPLUS ET200S TM-E15C24-01 | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1193-6BP00-xxA0 | SIPLUS ET 200SP BU
6AG1193-4CB70-7AA0 | SIPLUS ET200S TM-E15N24-01 | 2020-10-01 | 2021-10-01 | not planned, but not before 01.10.2030 | 6AG1193-6BP00-xxA0 | SIPLUS ET 200SP BU
6AG1193-4CF50-7AA0 | SIPLUS ET200S TM-E30C46-A1 | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1193-6BP20-xxA0 | SIPLUS ET 200SP BU
6AG1193-4CG30-2AA0 | SIPLUS ET200S TM-E30C44-01 | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1193-6BP20-xxA0 | SIPLUS ET 200SP BU
6AG1193-4CL30-2AA0 | SIPLUS ET200S TM-E15C24-AT | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1193-6BP20-xxA0 | SIPLUS ET 200SP BU
TM-P |  |  |  |  | most likely comparable ET 200SP product |  | alternative or recommended ET 200SP product
6AG1193-4CD20-2AA0 | SIPLUS ET200S TM-P15S23-A0 | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1193-6BPxx-xDxx | SIPLUS ET 200SP BU
6AG1193-4CD30-2AA0 | SIPLUS ET200S TM-P15C23-A0 | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1193-6BPxx-xDxx | SIPLUS ET 200SP BU
6AG1193-4CE10-2AA0 | SIPLUS ET200S TM-P15C22-01 | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1193-6BPxx-xDxx | SIPLUS ET 200SP BU
6AG1193-4CF50-7AA0 | SIPLUS ET200S TM-E30C46-A1 | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1193-6BPxx-xDxx | SIPLUS ET 200SP BU
Accessories, spare parts |  |  |  |  | most likely comparable ET 200SP product |  | alternative or recommended ET 200SP product
6AG1193-4JA00-2AA0 | SIPLUS ET200S Abschlussmodul | 2020-10-01 | 2023-10-01 | not planned, but not before 01.10.2030 | 6AG1193-6PA00-7AA0 | SIPLUS ET 200SP Servermodul
Accessories ET 200S Compact |  |  |  |  | most likely comparable ET 200SP product |  | alternative or recommended ET 200SP product